## alldata
Date-Time | UBC_ID | WSID | Dataset | ORG# | building# | Temp | RH | CO2 | CO | VOC | CLO | MRT | V | Noise | SII | Hpart1 | Hpart2 | Hpart3 | Hpart4 | partA | PART | ED1P1 | ED2P1 | ED1P2 | ED2P2 | HL_LUX | HR_LUX | V_LUX | Lux | WIND_A | GRN | WOOD | SUM_GW | SUM_BIO | SAT_TEMP | Desk_light | Air_qual | Appear | Priv_conv | Priv_visual | Noise_conv | Size | Noise_back | Comp_light | Comp_glare | Air_move | Alter | View | Distance | Light_qual | Distract | Enclosure | Rank_light | Rank_air | Rank_temp | Rank_noise | Rank_privacy | Rank_size | Rank_window | Rank_flag | Age | Gender | Job_cat | Ed_level | Good_pl | Sat_job | Prod_env | Sat_ind | OES | sat_priv | sat_air | sat_light | jobsatis | HeadPh | GlareScreen | PF1 | PF2 | PF3 | PF4 | Cor1 | Wall1 | Win1 | HTA1 | PCF1 | AWS1 | Cor2 | Wall2 | Win2 | HTA2 | PCF2 | AWS2 | Cor3 | Wall3 | Win3 | HTA3 | PCF3 | AWS3 | Cor4 | Wall4 | Win4 | HTA4 | PCF4 | AWS4 | FloorF | AirSC | ASF | ASD | ASJ | DiffLoc | Lumloc | Parab | Lens | Ind | Task | DayL+15 | DayL-15 | CeilH | W | L | P_1-12 | CRT_1-8 | Shape | Comments | VDT_Cat | Time | NAco_31.5Hz | NAco_63 | NAco_125 | NAco_250 | NAco_500 | NAco_1K | NAco_2K | NAco_4K | NAco_8K | NAco_AP | NAco_flag | FBch4_N | Fcco_N | FDco2_N | Fethc_N | FWh2o_N | Air_v_L_N | Air_V_M_N | Air_V_H_N | Rtd_R_N | Rtd_L_N | Rtd_M_N | Rtd_H_N | RH_N | E_F_N | E_Bk_N | E_T_N | E_Bot_N | E_R_N | E_L_N | ED1P1_N | ED2P1_N | ED1P2_N | ED2P2_N | ED1P3_N | ED2P3_N | ED1P4_N | ED2P4_N | ED1P5_N | ED2P5_N | ED1P6_N | ED2P6_N | Comments | PMV
2019-07-15 10:40 | D00100 | #REF! | UBC | CIRS | 10 | 24.4 | 57.2 | 582 | 0.9 | 46 | 0.41 | 25.21 | 0.03 | 41.7 | [6 empty] | 0 |  |  |  |  | 1400 | 1900 | 603 | 1650 | 5.8 | 0.3 | 10.3 | 10.6 | 16.4 | 6
2019-07-15 11:00 | C00110 | #REF! | UBC | CIRS | 10 | 23.5 | 59.9 | 606 | 0.8 | 40 | 0.59 | 23.445 | 0.07 | 46.8 | [6 empty] | 0 |  |  |  |  | 749 | 951 | 345 | 850 | 2.2 | 0.5 | 9.5 | 10 | 12.2 | 7
2019-07-17 10:03 | C00125 | #REF! | UBC | CIRS | 10 | 21.6 | 64.2 | 641 | 0.9 | 73 | 0.72 | 21.305 | 0.01 | 54.5 | [6 empty] | 1.26 |  |  |  |  | 59.1 | 71 | 98.5 | 65.05 | 1.5 | 0.1 | 9.2 | 9.3 | 10.8 | 4
2019-07-17 10:14 | B00190 | #REF! | UBC | CIRS | 10 | 21.6 | 64.8 | 646 | 0.9 | 68 | 0.51 | 21.644 | 0.01 | 54.2 | [6 empty] | 1.26 |  |  |  |  | 324 | 529 | 160.9 | 426.5 | 9.9 | 2.5 | 7.3 | 9.8 | 19.7 | 5
2019-07-17 10:29 | B00150 | #REF! | UBC | CIRS | 10 | 21.3 | 66.5 | 672 | 0.9 | 62 | 0.59 | 21.7012 | 0.01 | 56.3 | [6 empty] | 1.26 |  |  |  |  | 266 | 159.9 | 45.3 | 212.95 | 4.1 | 0.6 | 9.4 | 10 | 14.1 | 4
2019-07-17 11:08 | B00175 | #REF! | UBC | CIRS | 10 | 22.7 | 60.5 | 584 | 0.9 | 55 | 0.54 | 23.1777 | 0.01 | 42.3 | [6 empty] | 1.36 |  |  |  |  | 236 | 240 | 218 | 238 | 5.1 | 1.1 | 22.2 | 23.3 | 28.4 | 4
2019-07-17 11:18 | A00165 | #REF! | UBC | CIRS | 10 | 23 | 59.1 | 579 | 0.9 | 51 | 0.51 | 22.5183 | 0.01 | 52.9 | [6 empty] | 1.26 |  |  |  |  | 232 | 760 | 144 | 496 | 2.8 | 0.3 | 7.5 | 7.8 | 10.6 | 6
2019-07-17 11:46 | B00160 | #REF! | UBC | CIRS | 10 | 22.2 | 61.7 | 556 | 0.8 | 46 | 0.9 | 22.3944 | 0.03 | 46.1 | [6 empty] | 1.47 |  |  |  |  | 788 | 580 | 451 | 684 | 7.6 | 0.1 | 9.1 | 9.2 | 16.8 | 7
2019-07-17 11:55 | B00140 | #REF! | UBC | CIRS | 10 | 21.9 | 62 | 510 | 0.8 | 46 | 0.54 | 21.4658 | 0 | 44.2 | [6 empty] | 0 |  |  |  |  | 256 | 277 | 162 | 266.5 | 2.9 | 0 | 0.3 | 0.3 | 3.2 | 6
2019-07-17 15:55 | B00125 | #REF! | UBC | CIRS | 10 | 23.8 | 58.8 | 560 | 0.8 | 43 | 0.81 | 23.7858 | 0.02 | 47.5 | [6 empty] | 0 |  |  |  |  | 676 | 435 | 236 | 555.5 | 8.4 | 1.8 | 6.7 | 8.5 | 16.9 | 6
2019-07-17 16:03 | B00110 | #REF! | UBC | CIRS | 10 | 24.1 | 57.8 | 621 | 0.8 | 46 | 0.39 | 23.955 | 0.05 | 47.6 | [6 empty] | 1.36 |  |  |  |  | 255 | 245 | 507 | 250 | 4.2 | 0.1 | 15.7 | 15.8 | 20 | 5
2019-07-19 10:19 | A00100 | #REF! | UBC | CIRS | 10 | 22 | 51.8 | 589 | 1 | 92 | 0.78 | 21.8956 | 0.01 | 46.5 | [6 empty] | 1.26 |  |  |  |  | 233 | 249 | 990 | 241 | 2.5 | 0 | 11.7 | 11.7 | 14.2 | 6
2019-07-19 10:10 | B00225 | #REF! | UBC | CIRS | 10 | 21.2 | 54.1 | 583 | 1 | 96 | 0.87 | 21.8852 | 0.02 | 49.8 | [6 empty] | 1.26 |  |  |  |  | 226 | 163 | 438 | 194.5 | 3.3 | 0.2 | 16.5 | 16.7 | 20 | 4
2019-07-19 10:38 | A00150 | #REF! | UBC | CIRS | 10 | 22.7 | 49.3 | 501 | 0.9 | 82 | 0.57 | 23.7613 | 0.01 | 45.6 | [6 empty] | 0 |  |  |  |  | 1050 | 950 | 1775 | 1000 | 12.3 | 0 | 6.6 | 6.6 | 18.9 | 6
2019-07-19 11:03 | A00135 | #REF! | UBC | CIRS | 10 | 22.7 | 51.1 | 597 | 0.8 | 82 | 0.81 | 22.45 | 0.02 | 50.7 | [6 empty] | 0 |  |  |  |  | 363 | 210 | 253 | 286.5 | 0 | 0 | 3.9 | 3.9 | 3.9 | 4
2019-07-19 11:22 | A00120 | #REF! | UBC | CIRS | 10 | 22.8 | 49.5 | 561 | 0.7 | 80 | 0.59 | 21.494 | 0.03 | 44.6 | [6 empty] | 0 |  |  |  |  | 330 | 353 | 170.5 | 341.5 | 4.5 | 0.6 | 7.6 | 8.2 | 12.7 | 4
2019-07-19 11:50 | A00105 | #REF! | UBC | CIRS | 10 | 22.9 | 50.3 | 592 | 0.9 | 84 | 0.51 | 23.7508 | 0.01 | 44.6 | [6 empty] | 1.25 |  |  |  |  | 650 | 436 | 176.2 | 543 | 3.7 | 4.5 | 18.7 | 23.2 | 26.9 | 6
2019-07-19 12:02 | B00100 | #REF! | UBC | CIRS | 10 | 19.4 | 58.1 | 605 | 0.9 | 85 | 0.51 | 22.784 | 0.31 | 52.6 | [6 empty] | 0 |  |  |  |  | 1160 | 630 | 379 | 895 | 5.2 | 4 | 15.6 | 19.6 | 24.8 | 6
2019-07-19 12:30 | B00130 | #REF! | UBC | CIRS | 10 | 23.2 | 50 | 486 | 0.6 | 78 | 0.45 | 19.8696 | 0 | 44.9 | [6 empty] | 1.25 |  |  |  |  | 177.5 | 211 | 410 | 194.25 | 3.1 | 0 | 5.5 | 5.5 | 8.6 | 7
2019-07-19 12:57 | A00160 | #REF! | UBC | CIRS | 10 | 22.8 | 50 | 556 | 0.9 | 80 | 0.69 | 24.0931 | 0.02 | 43.2 | [6 empty] | 1.08 |  |  |  |  | 315 | 193 | 316 | 254 | 3.9 | 1.3 | 14.5 | 15.8 | 19.7 | 3
2019-07-19 13:19 | B00115 | #REF! | UBC | CIRS | 10 | 23 | 50.8 | 561 | 0.8 | 80 | 0.53 | 22.7621 | 0.06 | 43.3 | [6 empty] | 1.26 |  |  |  |  | 637 | 570 | 323 | 603.5 | 5.2 | 0 | 11.8 | 11.8 | 17 | 5
2019-07-19 13:52 | A00130 | #REF! | UBC | CIRS | 10 | 23.3 | 49.9 | 618 | 0.8 | 77 | 0.74 | 22.9369 | 0.01 | 44.4 | [6 empty] | 0 |  |  |  |  | 357 | 325 | 285 | 341 | 0.3 | 0.5 | 4.5 | 5 | 5.3 | 5
2019-07-19 14:11 | A00115 | #REF! | UBC | CIRS | 10 | 22.6 | 49.8 | 511 | 0.7 | 71 | 0.64 | 23.0854 | 0.05 | 51.2 | [6 empty] | 1.25 |  |  |  |  | 1050 | 830 | 835 | 940 | 12.2 | 2.6 | 5 | 7.6 | 19.8 | 6
2019-07-19 14:30 | Q00105 | #REF! | UBC | CIRS | 10 | 24.8 | 45.3 | 601 | 0.8 | 75 | 0.42 | 26.0621 | 0.04 | 48.1 | [6 empty] | 0 |  |  |  |  | 667 | 930 | 818 | 798.5 | 8.5 | 0.2 | 15.8 | 16 | 24.5 | 5
2019-07-19 14:50 | Q00100 | #REF! | UBC | CIRS | 10 | 24 | 47.1 | 596 | 0.8 | 75 | 0.39 | 24.2442 | 0.01 | 46.2 | [6 empty] | 0 |  |  |  |  | 880 | 610 | 330 | 745 | 6.2 | 0 | 11.2 | 11.2 | 17.4 | 1
2019-07-17 10:23 | B00145 | #REF! | UBC | CIRS | 10 | 21.3 | 65.6 | 627 | 0.9 | 63 | 0.64 | 21.2915 | 0.01 | 55.1 | [6 empty] | 1.26 | [5 empty] | 261 | 178 | 261 |  |  |  | 0 |  | 6
2019-07-17 10:41 | A00110 | #REF! | UBC | CIRS | 10 | 21.7 | 63.3 | 574 | 0.8 | 57 | 0.53 | 21.7865 | 0 | 53.6 | [6 empty] | 0 | [5 empty] | 158.3 | 105.2 | 158.3 |  |  |  | 0 |  | 6
2019-07-15 12:10 | B00205 | #REF! | UBC | CEME | 11 | 25.1 | 55.8 | 584 | 0.9 | 40 | 0.59 | 25.7492 | 0.04 | 44.6 | [6 empty] | 1.7 |  |  |  |  | 441 | 595 | 478 | 518 | 1.5 | 0 | 0 | 0 | 1.5 | 4
2019-07-15 14:00 | C00130 | #REF! | UBC | CEME | 11 | 26 | 52.9 | 643 | 0.9 | 44 | 0.57 | 24.3458 | 0.08 | 47.2 | [6 empty] | 1.04 |  |  |  |  | 512 | 430 | 286 | 471 | 7 | 1.4 | 1.2 | 2.6 | 9.6 | 2
2019-07-16 11:39 | B00170 | #REF! | UBC | CEME | 11 | 24.9 | 64.7 | 504.3 | 0.915 | 42.4 | 0.59 | 25.406 | 0.09 | 55.8 | [6 empty] | 1.8 |  |  |  |  | 460 | 400 | 203 | 430 | 1.2 | 0.7 | 0 | 0.7 | 1.9 | 4
2019-07-16 12:12 | C00105 | #REF! | UBC | CEME | 11 | 24.8 | 57.1 | 566.3333 | 0.88889 | 40 | 0.51 | 24.9029 | 0.03 | 59.6 | [6 empty] | 0 |  |  |  |  | 628 | 422 | 272 | 525 | 2 | 1 | 7.9 | 8.9 | 10.9 | 6
2019-07-16 12:23 | B00200 | #REF! | UBC | CEME | 11 | 25.5 | 56.3 | 549.5806 | 0.84839 | 37.5806 | 0.57 | 25.3896 | 0.06 | 46.2 | [6 empty] | 1.8 |  |  |  |  | 450 | 468 | 278 | 459 | 5.1 | 2.6 | 0 | 2.6 | 7.7 | 3
2019-07-16 12:34 | B00105 | #REF! | UBC | CEME | 11 | 25.3 | 56.3 | 534.4091 | 0.84091 | 40 | 0.43 | 25.2842 | 0.15 | 51 | [6 empty] | 1.8 |  |  |  |  | 1623 | 1230 | 810 | 1426.5 | 2.8 | 1.8 | 0 | 1.8 | 4.6 | 6
2019-07-16 12:55 | B00120 | #REF! | UBC | CEME | 11 | 24.8 | 57.4 | 578.64 | 0.772 | 40 | 0.51 | 24.9185 | 0.13 | 55.4 | [6 empty] | 0 |  |  |  |  | 806 | 766 | 197 | 786 | 3.3 | 0 | 6.3 | 6.3 | 9.6 | 7
2019-07-16 13:24 | B00165 | #REF! | UBC | CEME | 11 | 24 | 58.8 | 621.4722 | 0.86111 | 52.6667 | 0.37 | 24.1573 | 0.02 | 45.7 | [6 empty] | 0 |  |  |  |  | 338 | 296 | 129 | 317 | 0 | 0 | 0 | 0 | 0 | 2
2019-07-16 14:08 | B00155 | #REF! | UBC | CEME | 11 | 25.6 | 58 | 530.2381 | 0.77619 | 40 | 0.59 | 25.5085 | 0.03 | 50 | [6 empty] | 1.8 |  |  |  |  | 583 | 610 | 415 | 596.5 | 3.3 | 0 | 0 | 0 | 3.3 | 6
2019-07-18 10:41 | C00135 | #REF! | UBC | CEME | 11 | 20.6 | 50 | 555 | 0.9 | 37 | 0.6 | 22.2571 | 0.04 | 44.6 | [6 empty] | 1.77 |  |  |  |  | 600 | 810 | 240 | 705 | 1.4 | 0 | 0 | 0 | 1.4 | 3
2019-07-18 11:00 | C00120 | #REF! | UBC | CEME | 11 | 23 | 49.2 | 643 | 0.9 | 61 | 0.42 | 23.0138 | 0.01 | 41.2 | [6 empty] | 1.77 |  |  |  |  | 420 | 636 | 293 | 528 | 1 | 0.7 | 1.5 | 2.2 | 3.2 | 4
2019-07-18 11:18 | A00170 | #REF! | UBC | CEME | 11 | 23.7 | 48.2 | 571 | 0.8 | 40 | 0.6 | 21.964 | 0.03 | 34.5 | [6 empty] | 0 |  |  |  |  | 318 | 361 | 170 | 339.5 | 1.8 | 0 | 9.7 | 9.7 | 11.5 | 5
2019-07-18 14:02 | B00135 | #REF! | UBC | CEME | 11 | 25.1 | 58.5 | 592 | 0.8 | 40 | 0.53 | 24.6283 | 0.05 | 46.3 | [6 empty] | 0 |  |  |  |  | 283 | 329 | 125 | 306 | 0 | 0 | 5.2 | 5.2 | 5.2 | 5
2019-07-18 14:27 | B00180 | #REF! | UBC | CEME | 11 | 24.5 | 46.2 | 623 | 0.9 | 35 | 0.54 | 23.9531 | 0.02 | 43.7 | [6 empty] | 0 |  |  |  |  | 570 | 596 | 192 | 583 | 1.7 | 0.3 | 14.5 | 14.8 | 16.5 | 4
2019-07-18 15:02 | B00195 | #REF! | UBC | CEME | 11 | 24.3 | 44.5 | 518 | 0.9 | 28 | 0.44 | 24.7875 | 0.1 | 41.1 | [6 empty] | 0 |  |  |  |  | 425 | 344 | 314 | 384.5 | 14.4 | 0 | 3.7 | 3.7 | 18.1 | 6
2019-07-18 16:05 | B00210 | #REF! | UBC | CEME | 11 | 24.4 | 43.8 | 569 | 0.8 | 29 | 0.79 | 25.0187 | 0.04 | 46.4 | [6 empty] | 0 |  |  |  |  | 339 | 214 | 1300 | 276.5 | 6.3 | 0.5 | 3.6 | 4.1 | 10.4 | 3
2019-07-16 13:52 | B00230 | #REF! | UBC | CEME | 11 | 26.9 | 60 | 511.2727 | 0.73182 | 40 | 0.51 | 25.7148 | 0.08 | 43.2 | [6 empty] | 0 | [5 empty] | 1121 | 903 | 1121 |  |  |  | 0 |  | 7
2019-07-15 15:28 | C00115 | #REF! | UBC | Lasserre | 12 | 24.7 | 55.8 | 592 | 0.7 | 39 | 0.53 | 24.5767 | 0.01 | 34.8 | [6 empty] | 0 |  |  |  |  | 759 | 569 | 425 | 664 | 11 | 3.6 | 11.1 | 14.7 | 25.7 | 5
2019-07-15 15:41 | A00145 | #REF! | UBC | Lasserre | 12 | 26.1 | 51.7 | 630 | 0.7 | 40 | 0.47 | 25.0569 | 0.04 | 38 | [6 empty] | 0 |  |  |  |  | 266 | 168 | 186.2 | 217 | 6.7 | 0.5 | 5.8 | 6.3 | 13 | 3
2019-07-15 12:22 | C00100 | #REF! | UBC | Lasserre | 12 | 25.4 | 52.6 | 612 | 1 | 40 | 0.87 | 26.1592 | 0.03 | 42.4 | [6 empty] | 1.37 |  |  |  |  | 815 | 504 | 211 | 659.5 | 0.1 | 0.4 | 0 | 0.4 | 0.5 | 6
2019-07-16 09:51 | A00125 | #REF! | UBC | Lasserre | 12 | 24.1 | 55.2 | 537.0714 | 1.0464 | 49.9286 | 0.57 | 23.9335 | 0.04 | 46.2 | [6 empty] | 0 |  |  |  |  | 1356 | 920 | 840 | 1138 | 7.6 | 1.4 | 7.9 | 9.3 | 16.9 | 6
2019-07-16 10:04 | A00155 | #REF! | UBC | Lasserre | 12 | 23.3 | 59.4 | 529.7 | 0.85 | 47.725 | 0.57 | 23.9229 | 0.08 | 48 | [6 empty] | 0 |  |  |  |  | 1237 | 616 | 473 | 926.5 | 6.3 | 0.6 | 10.5 | 11.1 | 17.4 | 6
2019-07-16 10:10 | A00140 | #REF! | UBC | Lasserre | 12 | 23.8 | 58.2 | 555.45 | 0.8 | 46.25 | 0.59 | 23.5773 | 0.07 | 48.3 | [6 empty] | 0 |  |  |  |  | 455 | 425 | 507 | 440 | 11.7 | 2.8 | 7.8 | 10.6 | 22.3 | 5
2019-07-16 10:31 | B00185 | #REF! | UBC | Lasserre | 12 | 22.5 | 62.8 | 558.1333 | 0.66 | 46 | 0.53 | 22.8627 | 0.16 | 47.9 | [6 empty] | 0 |  |  |  |  | 820 | 960 | 287 | 890 | 4.2 | 0.3 | 0 | 0.3 | 4.5 | 4
2019-07-15 15:18 | B00220 | #REF! | UBC | Lasserre | 12 | 25 | 54 | 625 | 0.8 | 43 | 0.31 | 25.4042 | 0.04 | 43.6 | [6 empty] | 0 | [5 empty] | 166 | 131 | 166 |  |  |  | 0 |  | 2
2019-07-15 14:51 | B00215 | #REF! | UBC | Macmillan | 13 | 25.1 | 55.5 | 518 | 0.8 | 40 | 0.53 | 27.3075 | 0.18 | 46.4 | [6 empty] | 0 |  |  |  |  | 805 | 960 | 592 | 882.5 | 5 | 0 | 3.4 | 3.4 | 8.4 | 6
2019-08-13 09:46 | A00190 | #REF! | UBC | TEF3 | 14 | 23.1 | 56.5 | 666 | 0.8 | 85 | 0.33 | 23.458 | 0.01 | 57.3 | [6 empty] | 0 |  |  |  |  | 275 | 195 | 143 | 235 | 2.7 | 0.3 | 3 | 3.3 | 6 | 7
2019-08-13 09:54 | A00175 | #REF! | UBC | TEF3 | 14 | 23.7 | 53.3 | 566 | 0.8 | 80 | 0.57 | 22.8908 | 0.04 | 50.4 | [6 empty] | 1.43 |  |  |  |  | 281 | 248 | 249 | 264.5 | 0 | 0 | 10.9 | 10.9 | 10.9 | 6
2019-08-13 10:09 | A00205 | #REF! | UBC | TEF3 | 14 | 24 | 53 | 616 | 0.8 | 79 | 0.57 | 22.8208 | 0.04 | 51.1 | [6 empty] | 0 |  |  |  |  | 193 | 294 | 258 | 243.5 | 0 | 0.6 | 6.2 | 6.8 | 6.8 | 6
2019-08-13 10:23 | A00220 | #REF! | UBC | TEF3 | 14 | 24 | 54.1 | 634 | 0.8 | 80 | 0.43 | 22.9521 | 0.02 | 51.8 | [6 empty] | 0 |  |  |  |  | 372 | 418 | 397 | 395 | 0.2 | 0 | 8.8 | 8.8 | 9 | 6
2019-08-13 10:38 | A00235 | #REF! | UBC | TEF3 | 14 | 23.7 | 55 | 756 | 0.8 | 80 | 0.47 | 22.2631 | 0.02 | 53.1 | [6 empty] | 1.43 |  |  |  |  | 390 | 350 | 300 | 370 | 0 | 0 | 5 | 5 | 5 | 4
2019-08-13 10:54 | B00240 | #REF! | UBC | TEF3 | 14 | 23.9 | 54.9 | 758 | 0.8 | 85 | 0.39 | 23.2444 | 0.01 | 49.7 | [6 empty] | 0 |  |  |  |  | 211 | 177 | 176 | 194 | 2.7 | 0 | 6.2 | 6.2 | 8.9 | 5
2019-08-13 11:14 | A00185 | #REF! | UBC | TEF3 | 14 | 24.1 | 54.8 | 755 | 0.8 | 83 | 0.57 | 22.8812 | 0.04 | 51.5 | [6 empty] | 1.43 |  |  |  |  | 546 | 525 | 407 | 535.5 | 0 | 0 | 6.2 | 6.2 | 6.2 | 7
2019-08-13 11:21 | A00200 | #REF! | UBC | TEF3 | 14 | 23.8 | 55.6 | 797 | 0.8 | 85 | 0.6 | 22.5377 | 0.02 | 48.1 | [6 empty] | 1.43 |  |  |  |  | 85 | 101 | 307 | 93 | 1.8 | 0 | 6.3 | 6.3 | 8.1 | 4
2019-08-13 11:24 | A00215 | #REF! | UBC | TEF3 | 14 | 23.5 | 55.9 | 765 | 0.8 | 80 | 0.67 | 21.9638 | 0.03 | 50.1 | [6 empty] | 1.43 |  |  |  |  | 462 | 320 | 272 | 391 | 0 | 0.1 | 2.9 | 3 | 3 | 4
2019-08-13 11:30 | A00230 | #REF! | UBC | TEF3 | 14 | 22 | 59.8 | 731 | 0.7 | 80 | 0.75 | 21.9544 | 0.1 | 48.6 | [6 empty] | 1.43 |  |  |  |  | 365 | 438 | 266 | 401.5 | 0 | 0 | 4.4 | 4.4 | 4.4 | 2
2019-08-13 11:35 | A00245 | #REF! | UBC | TEF3 | 14 | 22.3 | 59 | 750 | 0.7 | 80 | 0.51 | 22.2971 | 0.02 | 48.2 | [6 empty] | 1.43 |  |  |  |  | 144 | 96 | 317 | 120 | 0 | 0 | 9.8 | 9.8 | 9.8 | 6
2019-08-13 11:44 | B00250 | #REF! | UBC | TEF3 | 14 | 23.1 | 57 | 732 | 0.7 | 80 | 0.43 | 22.2704 | 0.08 | 50.7 | [6 empty] | 1.43 |  |  |  |  | 222 | 350 | 505 | 286 | 0 | 0.2 | 8.3 | 8.5 | 8.5 | 4
2019-08-13 11:52 | B00265 | #REF! | UBC | TEF3 | 14 | 23.2 | 57.3 | 744 | 0.8 | 84 | 0.59 | 22.2213 | 0.03 | 49.6 | [6 empty] | 1.43 |  |  |  |  | 296 | 160 | 401 | 228 | 0 | 0 | 5.9 | 5.9 | 5.9 | 7
2019-08-13 12:03 | B00280 | #REF! | UBC | TEF3 | 14 | 23.3 | 57.3 | 660 | 0.7 | 83 | 0.51 | 23.1235 | 0.01 | 50.1 | [6 empty] | 1.43 |  |  |  |  | 237 | 475 | 618 | 356 | 0.2 | 0.1 | 4.4 | 4.5 | 4.7 | 5
2019-08-15 10:47 | B00295 | #REF! | UBC | TEF3 | 14 | 25.2 | 53.8 | 569 | 1 | 106 | 0.53 | 25.5354 | 0.19 | 51 | [6 empty] | 1.16 |  |  |  |  | 820 | 782 | 406 | 801 | 13.7 | 0.2 | 5.5 | 5.7 | 19.4 | 5
2019-08-15 10:29 | B00310 | #REF! | UBC | TEF3 | 14 | 24.8 | 55 | 552 | 1.1 | 113 | 0.51 | 25.7058 | 0.06 | 54.3 | [6 empty] | 1.16 |  |  |  |  | 820 | 1300 | 1073 | 1060 | 18.9 | 0.5 | 8.4 | 8.9 | 27.8 | 3
2019-08-15 11:04 | B00325 | #REF! | UBC | TEF3 | 14 | 23.6 | 57.8 | 702 | 0.8 | 102 | 0.6 | 22.6335 | 0.02 | 48.7 | [6 empty] | 0 |  |  |  |  | 210 | 211 | 92 | 210.5 | 0 | 0 | 6.4 | 6.4 | 6.4 | 4
2019-08-15 11:15 | B00340 | #REF! | UBC | TEF3 | 14 | 23.5 | 59.5 | 667 | 0.9 | 102 | 0.55 | 23.4632 | 0.06 | 48.5 | [6 empty] | 1.34 |  |  |  |  | 139 | 148 | 300 | 143.5 | 2.6 | 1.4 | 6.8 | 8.2 | 10.8 | 6
2019-08-15 11:26 | B00355 | #REF! | UBC | TEF3 | 14 | 23.8 | 59.1 | 619 | 0.9 | 99 | 0.3 | 23.8704 | 0.06 | 44.3 | [6 empty] | 1.34 |  |  |  |  | 1213 | 630 | 1573 | 921.5 | 10.6 | 0 | 4.5 | 4.5 | 15.1 | 7
2019-08-15 11:36 | B00255 | #REF! | UBC | TEF3 | 14 | 23.3 | 60.2 | 632 | 0.9 | 97 | 0.74 | 23.3346 | 0.01 | 45.6 | [6 empty] | 1.34 |  |  |  |  | 88 | 100 | 144 | 94 | 1.1 | 0.9 | 7.4 | 8.3 | 9.4 | 3
2019-08-15 11:40 | B00370 | #REF! | UBC | TEF3 | 14 | 23.3 | 59.7 | 624 | 0.9 | 96 | 0.74 | 23.1735 | 0.01 | 48.2 | [6 empty] | 1.34 |  |  |  |  | 98 | 85 | 123 | 91.5 | 1.4 | 1.8 | 5.4 | 7.2 | 8.6 | 5
2019-08-15 11:55 | C00145 | #REF! | UBC | TEF3 | 14 | 23.4 | 59.4 | 602 | 0.8 | 96 | 0.56 | 22.9469 | 0.01 | 51.3 | [6 empty] | 1.34 |  |  |  |  | 236 | 306 | 435 | 271 | 0 | 0 | 4.9 | 4.9 | 4.9 | 4
2019-08-15 11:58 | C00160 | #REF! | UBC | TEF3 | 14 | 23.8 | 58.1 | 635 | 0.9 | 93 | 0.59 | 22.8786 | 0.02 | 47.8 | [6 empty] | 1.34 |  |  |  |  | 135 | 144 | 457 | 139.5 | 5.2 | 1.2 | 3.3 | 4.5 | 9.7 | 2
2019-08-15 13:15 | C00175 | #REF! | UBC | TEF3 | 14 | 23.8 | 58.4 | 677 | 0.8 | 95 | 0.87 | 23.7296 | 0.03 | 47.5 | [6 empty] | 0 |  |  |  |  | 1483 | 2130 | 335 | 1806.5 | 8.4 | 1.3 | 4.4 | 5.7 | 14.1 | 6
2019-08-15 13:31 | C00170 | #REF! | UBC | TEF3 | 14 | 23.9 | 58.3 | 672 | 0.9 | 91 | 0.59 | 23.6219 | 0.13 | 46.5 | [6 empty] | 0 |  |  |  |  | 308 | 147 | 176 | 227.5 | 7.3 | 0 | 0.8 | 0.8 | 8.1 | 5
2019-08-15 13:50 | C00155 | #REF! | UBC | TEF3 | 14 | 24.6 | 56.2 | 585 | 0.8 | 91 | 0.77 | 23.1067 | 0.06 | 47.3 | [6 empty] | 1.34 |  |  |  |  | 1146 | 742 | 1527 | 944 | 7.6 | 0.1 | 2.8 | 2.9 | 10.5 | 2
2019-08-15 13:58 | C00140 | #REF! | UBC | TEF3 | 14 | 24.2 | 58 | 655 | 0.9 | 93 | 0.81 | 23.1583 | 0.07 | 49.7 | [6 empty] | 0 |  |  |  |  | 650 | 430 | 582 | 540 | 11.1 | 0.3 | 6.3 | 6.6 | 17.7 | 7
2019-08-15 14:05 | B00365 | #REF! | UBC | TEF3 | 14 | 24.2 | 56.8 | 663 | 0.8 | 93 | 0.44 | 22.2352 | 0.03 | 49.7 | [6 empty] | 1.34 |  |  |  |  | 242 | 1058 | 131 | 650 | 2.2 | 0.7 | 3.5 | 4.2 | 6.4 | 5
2019-08-15 14:12 | B00335 | #REF! | UBC | TEF3 | 14 | 23.9 | 59 | 632 | 0.8 | 91 | 0.53 | 22.6948 | 0.02 | 47.9 | [6 empty] | 1.34 |  |  |  |  | 128 | 132 | 108 | 130 | 2.2 | 0.1 | 6.9 | 7 | 9.2 | 5
2019-08-15 14:19 | B00350 | #REF! | UBC | TEF3 | 14 | 23 | 62 | 632 | 0.8 | 92 | 0.53 | 22.7079 | 0.05 | 48 | [6 empty] | 1.34 |  |  |  |  | 341 | 268 | 347 | 304.5 | 12.4 | 0 | 7.4 | 7.4 | 19.8 | 3
2019-08-15 14:26 | B00320 | #REF! | UBC | TEF3 | 14 | 23.7 | 57.9 | 653 | 0.8 | 91 | 0.37 | 22.2548 | 0.02 | 48 | [6 empty] | 1.34 |  |  |  |  | 61 | 65 | 85 | 63 | 0.3 | 0.8 | 8 | 8.8 | 9.1 | 4
2019-08-15 15:01 | B00305 | #REF! | UBC | TEF3 | 14 | 23 | 60.7 | 611 | 0.8 | 91 | 0.51 | 22.9635 | 0.01 | 50.7 | [6 empty] | 1.34 |  |  |  |  | 101 | 106 | 202 | 103.5 | 0 | 0.1 | 5.8 | 5.9 | 5.9 | 6
2019-08-15 14:50 | B00290 | #REF! | UBC | TEF3 | 14 | 22.7 | 61.6 | 615 | 0.9 | 91 | 0.44 | 23.0294 | 0.02 | 51.2 | [6 empty] | 1.34 |  |  |  |  | 119 | 74 | 162 | 96.5 | 0 | 0 | 6.6 | 6.6 | 6.6 | 5
2019-08-15 14:55 | B00275 | #REF! | UBC | TEF3 | 14 | 23.1 | 60.8 | 580 | 0.9 | 91 | 0.59 | 23.2775 | 0.02 | 50.4 | [6 empty] | 0 |  |  |  |  | 396 | 443 | 464 | 419.5 | 0 | 0.2 | 4.9 | 5.1 | 5.1 | 6
2019-08-15 15:07 | B00260 | #REF! | UBC | TEF3 | 14 | 23.4 | 59.8 | 627 | 0.8 | 91 | 0.79 | 23.4265 | 0.01 | 50.8 | [6 empty] | 1.34 |  |  |  |  | 91 | 101 | 102 | 96 | 0 | 0 | 5.1 | 5.1 | 5.1 | 4
2019-08-15 15:19 | B00245 | #REF! | UBC | TEF3 | 14 | 23 | 59.7 | 661 | 0.8 | 91 | 0.45 | 22.8948 | 0.02 | 53.2 | [6 empty] | 1.34 |  |  |  |  | 167 | 232 | 134 | 199.5 | 1.2 | 0.2 | 5.7 | 5.9 | 7.1 | 5
2019-08-15 15:26 | A00240 | #REF! | UBC | TEF3 | 14 | 23 | 58.8 | 715 | 0.8 | 90 | 0.44 | 23.295 | 0.02 | 49.2 | [6 empty] | 0 |  |  |  |  | 314 | 319 | 507 | 316.5 | 9.3 | 0.1 | 5.4 | 5.5 | 14.8 | 3
2019-08-15 15:44 | A00225 | #REF! | UBC | TEF3 | 14 | 22.9 | 58.9 | 728 | 0.8 | 87 | 0.81 | 22.8019 | 0.05 | 47.3 | [6 empty] | 0 |  |  |  |  | 328 | 308 | 383 | 318 | 7.9 | 0.1 | 2.5 | 2.6 | 10.5 | 5
2019-08-15 15:48 | A00210 | #REF! | UBC | TEF3 | 14 | 22.6 | 58.6 | 566 | 0.9 | 85 | 0.51 | 22.8394 | 0.12 | 45.1 | [6 empty] | 0 |  |  |  |  | 102 | 151 | 106 | 126.5 | 11.7 | 0.2 | 4.1 | 4.3 | 16 | 6
2019-08-15 15:59 | A00195 | #REF! | UBC | TEF3 | 14 | 20.8 | 64.6 | 589 | 0.7 | 87 | 0.51 | 22.7185 | 0.03 | 49.8 | [6 empty] | 0 |  |  |  |  | 230 | 258 | 149 | 244 | 2 | 0.2 | 3.4 | 3.6 | 5.6 | 3
2019-08-15 16:04 | A00180 | #REF! | UBC | TEF3 | 14 | 21.9 | 61 | 582 | 0.7 | 85 | 0.49 | 23.1537 | 0.06 | 54.5 | [6 empty] | 0 |  |  |  |  | 124 | 168 | 101 | 146 | 11.2 | 1.2 | 2.3 | 3.5 | 14.7 | 6
2020-01-27 10:36 | D00160 | #REF! | UBC | CIRS | 10 | 21.5 | 43.6 | 941 | 0.9 | 138 | 0.5 | 21.1863 | 0.01 | 47.4 | [6 empty] | 0 |  |  |  |  | 159 | 185 | 204 | 172 | [5 empty] | 2
2020-01-27 10:59 | D00110 | #REF! | UBC | CIRS | 10 | 23 | 42 | 1026 | 0.9 | 134 | 0.63 | 22.425 | 0.01 | 52.7 | [6 empty] | 0 |  |  |  |  | 2170 | 3100 | 15040 | 2635 | [5 empty] | 4
2020-01-27 11:44 | E00295 | #REF! | UBC | CIRS | 10 | 23.9 | 40.8 | 1258 | 0.8 | 140 | 0.55 | 22.5023 | 0.08 | 48.6 | [6 empty] | 1.25 |  |  |  |  | 323 | 252 | 741 | 287.5 | [5 empty] | 4
2020-01-27 12:15 | D00220 | #REF! | UBC | CIRS | 10 | 23.5 | 41 | 1271 | 0.7 | 139 | 0.57 | 22.4409 | 0.03 | 48.5 | [6 empty] | 1.25 |  |  |  |  | 256 | 159 | 137 | 207.5 | [5 empty] | 3
2020-01-27 12:32 | D00250 | #REF! | UBC | CIRS | 10 | 23.1 | 38.5 | 1084 | 0.7 | 134 | 0.66 | 21.4549 | 0.05 | 40.1 | [6 empty] | 0 |  |  |  |  | 680 | 1140 | 355 | 910 | [5 empty] | 4
2020-01-27 12:36 | E00235 | #REF! | UBC | CIRS | 10 | 23.5 | 38.3 | 961 | 0.6 | 129 | 0.8 | 22.2718 | 0 | 40.1 | [6 empty] | 0 |  |  |  |  | 180 | 200 | 180 | 190 | [5 empty] | 6
2020-01-27 12:53 | E00145 | #REF! | UBC | CIRS | 10 | 22.8 | 37 | 821 | 0.6 | 124 | 0.5 | 20.9954 | 0.02 | 50 | [6 empty] | 0 |  |  |  |  | 590 | 1083 | 495 | 836.5 | [5 empty] | 6
2020-01-27 14:48 | D00265 | #REF! | UBC | CIRS | 10 | 22.5 | 41.2 | 908 | 0.7 | 139 | 0.5 | 21.7145 | 0.04 | 43.8 | [6 empty] | 1.25 |  |  |  |  | 482 | 375 | 185 | 428.5 | [5 empty] | 6
2020-01-27 15:07 | D00105 | #REF! | UBC | CIRS | 10 | 22.9 | 41.8 | 1117 | 0.8 | 146 | 0.6 | 21.4128 | 0.04 | 43.2 | [6 empty] | 0 |  |  |  |  | 166 | 261 | 95 | 213.5 | [5 empty] | 5
2020-01-27 15:30 | D00325 | #REF! | UBC | CIRS | 10 | 21.4 | 41.5 | 734 | 0.7 | 134 | 0.5 | 20.4794 | 0.02 | 51.8 | [6 empty] | 0 |  |  |  |  | 376 | 354 | 186.7 | 365 | [5 empty] | 7
2020-01-27 15:41 | D00310 | #REF! | UBC | CIRS | 10 | 21.9 | 41 | 744 | 0.7 | 134 | 0.75 | 20.6338 | 0.04 | 51 | [6 empty] | 0 |  |  |  |  | 175.7 | 182 | 129.6 | 178.85 | [5 empty] | 6
2020-01-27 15:54 | D00280 | #REF! | UBC | CIRS | 10 | 21.9 | 41.1 | 756 | 0.7 | 134 | 0.6 | 20.666 | 0.02 | 54 | [6 empty] | 0 |  |  |  |  | 192 | 275 | 164.6 | 233.5 | [5 empty] | 4
2020-01-29 13:48 | B00285 | #REF! | UBC | CIRS | 10 | 23.2 | 47 | 1211 | 0.9 | 157 | 0.6 | 21.3619 | 0.01 | 42.7 | [6 empty] | 0 |  |  |  |  | 1462 | 1007 | 353 | 1234.5 | [5 empty] | 5
2020-01-29 14:19 | B00270 | #REF! | UBC | CIRS | 10 | 24.1 | 42.8 | 1356 | 1 | 164 | 0.61 | 22.5576 | 0.12 | 39 | [6 empty] | 1.25 |  |  |  |  | 587 | 1676 | 537 | 1131.5 | [5 empty] | 4
2020-01-29 14:37 | B00360 | #REF! | UBC | CIRS | 10 | 24.6 | 41.7 | 891 | 0.9 | 148 | 0.66 | 23.7116 | 0.01 | 54.9 | [6 empty] | 0 |  |  |  |  | 2840 | 1060 | 1759 | 1950 | [5 empty] | 6
2020-01-29 14:57 | B00345 | #REF! | UBC | CIRS | 10 | 23.3 | 41.8 | 822 | 0.8 | 142 | 0.63 | 22.1015 | 0.03 | 41.1 | [6 empty] | 1.25 |  |  |  |  | 252 | 420 | 712 | 336 | [5 empty] | 6
2020-01-31 10:44 | B00330 | #REF! | UBC | CIRS | 10 | 22.3 | 43 | 791 | 1.3 | 158 | 0.87 | 20.9211 | 0.02 | 41.5 | [6 empty] | 1.26 |  |  |  |  | 142 | 255 | 250 | 198.5 | [5 empty] | 6
2020-01-31 11:06 | C00150 | #REF! | UBC | CIRS | 10 | 22.2 | 43.1 | 1032 | 1.2 | 158 | 0.63 | 20.8315 | 0.03 | 56.4 | [6 empty] | 0 |  |  |  |  | 237 | 288 | 193 | 262.5 | [5 empty] | 3
2020-01-31 11:22 | B00375 | #REF! | UBC | CIRS | 10 | 22.6 | 42.9 | 971 | 1.3 | 158 | 0.52 | 21.5317 | 0.08 | 54.4 | [6 empty] | 1.7 |  |  |  |  | 195.5 | 252 | 120 | 223.75 | [5 empty] | 6
2020-01-31 11:41 | D00235 | #REF! | UBC | CIRS | 10 | 22.3 | 42.5 | 830 | 1.1 | 154 | 0.48 | 20.9651 | 0.07 | 44 | [6 empty] | 0 |  |  |  |  | 180 | 107 | 98 | 143.5 | [5 empty] | 5
2020-01-31 11:37 | D00145 | #REF! | UBC | CIRS | 10 | 21.9 | 42.7 | 815 | 1.1 | 154 | 0.48 | 20.6296 | 0.05 | 44 | [6 empty] | 0 |  |  |  |  | 157.4 | 208 | 173.6 | 182.7 | [5 empty] | 6
2020-01-31 13:32 | D00190 | #REF! | UBC | CIRS | 10 | 22.3 | 44.6 | 1260 | 1.2 | 166 | 0.48 | 21.347 | 0.01 | 40.1 | [6 empty] | 1.25 |  |  |  |  | 103 | 136 | 117.5 | 119.5 | [5 empty] | 5
2020-01-31 13:39 | C00165 | #REF! | UBC | CIRS | 10 | 22.7 | 44.3 | 1342 | 1.2 | 170 | 0.55 | 21.6945 | 0.09 | 47.2 | [6 empty] | 1.25 |  |  |  |  | 159 | 176 | 68 | 167.5 | [5 empty] | 5
2020-01-31 14:07 | E00265 | #REF! | UBC | CIRS | 10 | 23.1 | 44.2 | 1114 | 1.2 | 164 | 0.57 | 22.0599 | 0.08 | 47.1 | [6 empty] | 1.25 |  |  |  |  | 167 | 285 | 127 | 226 | [5 empty] | 3
2020-01-31 14:44 | E00175 | #REF! | UBC | CIRS | 10 | 23.3 | 44 | 966 | 1.1 | 152 | 0.49 | 22.2865 | 0.05 | 47.1 | [6 empty] | 1.25 |  |  |  |  | 123.6 | 172 | 90 | 147.8 | [5 empty] | 3
2020-01-31 14:44 | E00190 | #REF! | UBC | CIRS | 10 | 22.3 | 47.9 | 966 | 1.1 | 152 | 0.63 | 21.344 | 0.02 | 40 | [6 empty] | 0 |  |  |  |  | 215 | 163 | 85 | 189 | [5 empty] | 3
2020-02-03 10:50 | E00105 | #REF! | UBC | CEME | 11 | 22.1 | 27.9 | 694 | 0.8 | 123 | 0.82 | 21.6715 | 0.04 | 42 | [6 empty] | 0 |  |  |  |  | 529 | 137 | 255 | 333 | [5 empty] | 3
2020-02-03 11:11 | E00220 | #REF! | UBC | CEME | 11 | 22.7 | 26.3 | 725 | 0.7 | 116 | 0.9 | 22.3812 | 0.07 | 44 | [6 empty] | 1.68 |  |  |  |  | 335 | 393 | 234 | 364 | [5 empty] | 1
2020-02-03 11:15 | E00115 | #REF! | UBC | CEME | 11 | 23.1 | 25.6 | 666 | 0.7 | 116 | 0.75 | 22.4427 | 0.02 | 47.7 | [6 empty] | 0 |  |  |  |  | 370 | 341 | 253 | 355.5 | [5 empty] | 6
2020-02-03 11:23 | E00160 | #REF! | UBC | CEME | 11 | 23 | 25.7 | 712 | 0.7 | 115 | 0.55 | 22.786 | 0.02 | 49.4 | [6 empty] | 0 |  |  |  |  | 312 | 409 | 105 | 360.5 | [5 empty] | 6
2020-02-07 10:51 | E00250 | #REF! | UBC | CEME | 11 | 20.6 | 37 | 642 | 1.1 | 146 | 0.82 | 19.4342 | 0.07 | 39 | [6 empty] | 0 |  |  |  |  | 563 | 675 | 317 | 619 | [5 empty] | 6
2020-02-07 11:02 | E00205 | #REF! | UBC | CEME | 11 | 21.1 | 36.9 | 663 | 1 | 146 | 0.35 | 21.7848 | 0.03 | 46 | [6 empty] | 0 |  |  |  |  | 985 | 796 | 330 | 890.5 | [5 empty] | 3
2020-02-07 11:13 | E00130 | #REF! | UBC | CEME | 11 | 22.7 | 36.5 | 677 | 1.1 | 146 | 0.57 | 23.2356 | 0.01 | 46.1 | [6 empty] | 1.68 |  |  |  |  | 743 | 637 | 405 | 690 | [5 empty] | 2
2020-02-07 11:31 | D00430 | #REF! | UBC | CEME | 11 | 22.1 | 36.3 | 772 | 1 | 165 | 0.49 | 22.7173 | 0.05 | 48.8 | [6 empty] | 1.64 |  |  |  |  | 478 | 460 | 211 | 469 | [5 empty] | 6
2020-02-07 11:35 | D00385 | #REF! | UBC | CEME | 11 | 22.8 | 36.4 | 770 | 1 | 164 | 0.44 | 23.0152 | 0.02 | 48.8 | [6 empty] | 1.64 |  |  |  |  | 194 | 261 | 300 | 227.5 | [5 empty] | 4
2020-02-07 11:44 | D00340 | #REF! | UBC | CEME | 11 | 23.3 | 36.1 | 837 | 1.1 | 158 | 0.81 | 23.011 | 0.08 | 46.9 | [6 empty] | 1.64 |  |  |  |  | 730 | 694 | 364 | 712 | [5 empty] | 3
2020-02-10 12:11 | E00310 | #REF! | UBC | Lasserre | 12 | 20.5 | 39.8 | 619 | 1 | 146 | 0.63 | 21.1477 | 0.09 | 53 | [6 empty] | 0 |  |  |  |  | 1600 | 536 | 773 | 1068 | [5 empty] | 3
2020-02-10 12:24 | E00430 | #REF! | UBC | Lasserre | 12 | 22 | 35.2 | 704 | 0.9 | 146 | 0.4 | 19.6658 | 0.03 | 53.8 | [6 empty] | 0 |  |  |  |  | 1152 | 1970 | 3170 | 1561 | [5 empty] | 1
2020-02-10 12:35 | E00415 | #REF! | UBC | Lasserre | 12 | 24.2 | 34.6 | 707 | 1 | 147 | 0.7 | 24.4567 | 0.01 | 45.7 | [6 empty] | 0 |  |  |  |  | 458 | 426 | 740 | 442 | [5 empty] | 6
2020-02-10 13:25 | E00100 | #REF! | UBC | Lasserre | 12 | 18.7 | 36.2 | 660 | 0.6 | 147 | 0.58 | 19.7867 | 0.04 | 63 | [6 empty] | 0 |  |  |  |  | 169.2 | 128 | 93.9 | 148.6 | [5 empty] | 3
2020-02-11 10:20 | E00445 | #REF! | UBC | Lasserre | 12 | 20.7 | 36.2 | 605 | 0.9 | 140 | 0.5 | 20.9008 | 0.04 | 47.5 | [6 empty] | 0 |  |  |  |  | 156 | 133 | 142 | 144.5 | [5 empty] | 4
2020-02-11 10:36 | E00460 | #REF! | UBC | Lasserre | 12 | 21.3 | 37.9 | 646 | 1 | 140 | 0.71 | 20.7856 | 0.02 | 61 | [6 empty] | 0 |  |  |  |  | 2190 | 635 | 515 | 1412.5 | [5 empty] | 3
2020-02-11 11:18 | E00400 | #REF! | UBC | Lasserre | 12 | 20.9 | 34.7 | 725 | 1.1 | 146 | 0.55 | 19.8402 | 0.01 | 49.3 | [6 empty] | 0 |  |  |  |  | 890 | 758 | 566 | 824 | [5 empty] | 2
2020-02-12 14:01 | D00490 | #REF! | UBC | Lasserre | 12 | 22.1 | 36.6 | 706 | 0.6 | 146 | 0.63 | 23.1858 | 0.03 | 48.5 | [6 empty] | 0 |  |  |  |  | 370 | 419 | 144.3 | 394.5 | [5 empty] | 5
2020-02-12 14:20 | D00460 | #REF! | UBC | Lasserre | 12 | 22.1 | 35.7 | 678 | 0.5 | 152 | 0.63 | 22.0742 | 0.02 | 46.4 | [6 empty] | 1.37 |  |  |  |  | 260 | 241 | 1152 | 250.5 | [5 empty] | 4
2020-02-12 14:27 | E00475 | #REF! | UBC | Lasserre | 12 | 22.7 | 35.3 | 652 | 0.6 | 150 | 0.52 | 23.1201 | 0.02 | 49.9 | [6 empty] | 1.07 |  |  |  |  | 285 | 264 | 134 | 274.5 | [5 empty] | 4
2020-02-12 14:41 | E00340 | #REF! | UBC | Lasserre | 12 | 23.6 | 31.2 | 685 | 0.6 | 147 | 0.58 | 23.2395 | 0.03 | 52 | [6 empty] | 0 |  |  |  |  | 149 | 135 | 233 | 142 | [5 empty] | 3
Note on U1: Sarah Crosby: in inches (for COPE only)
Note on V1: Sarah Crosby: in [Meters] : for COPE+UBC
Note on X1: Sarah Crosby: COPE
Note on Y1: Sarah Crosby: COPE
Note on Z1: Sarah Crosby: COPE
Note on AA1: Sarah Crosby: COPE
Note on AC1: Sarah Crosby: Horizonal Lux Meas (Left)-UBC
Note on AD1: Sarah Crosby: Horizonal Lux Meas (Right)-UBC
Note on AE1: Sarah Crosby: Vertical (Computer Screen) Lux Meas.-UBC
Note on AG1: Sarah Crosby: For COPE : Lux is the average of 4 horizontal meas. For UBC: Lux is the average of the horizontal meas. only
Note on AI1: Sarah Crosby: UBC
Note on AJ1: Sarah Crosby: UBC
Note on AK1: Sarah Crosby: UBC
Note on AL1: Sarah Crosby: UBC
Note on AM1: Sarah Crosby: UBC
Note on AO1: Sarah Crosby: Satisfaction with thermal conditions
Note on F2: Sarah Crosby: Start of UBC Summer Data

## COPE_Questionnaire vars
Worksheet | Item # | Excel Variable Name | Systat Variable Name | Question |  |  |  | responses
alldata | 1 | Desk_light | DESK_LIGHT | the amount of lighting on the desktop? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 2 | Air_qual | AIR_QUAL | the overall air quality in your work space? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 3 | Temp | TEMP | the temperature in your work space? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 4 | Appear | APPEAR | the aesthetic appearance of your office? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 5 | Priv_conv | PRIV_CONV | the level of privacy for conversations in your office? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 6 | Priv_visual | PRIV_VISUAL | the level of visual privacy within your office? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 7 | Noise_conv | NOISE_CONV | the amount of noise made by other people's conversation when you are working at your workstation? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 8 | Size | SIZE | the size of your personal workstation to accommodate your work materials, and visitors? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 9 | Noise_back | NOISE_BACK | the amount of background noise you hear when working at your workstation (e.g., office equipment, ventilation, etc.)? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 10 | Comp_light | COMP_LIGHT | the amount of light for computer work? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 11 | Comp_glare | COMP_GLARE | the amount of reflected light or glare on the computer screen? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 12 | Air_move | AIR_MOVE | the air movement in your workspace? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 13 | Alter | ALTER | the your ability to alter the physical conditions in your work space? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 14 | View | VIEW | your access to a view of outside from where you sit? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 15 | Distance | DISTANCE | the distance between you and other people you work with? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 16 | Light_qual | LIGHT_QUAL | the quality of lighting in your work area? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 17 | Distract | DISTRACT | the frequency of distractions from other people? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
alldata | 18 | Enclosure | ENCLOSURE | the degree of enclosure of your work space by walls, screens, or furniture? | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
Please order the following elements of your work environment in terms of how important they
are to you. Please use 1 to indicate the most important element, 2 to indicate the next most
important, and so on until you have ranked all the elements, each with a unique rank order.
alldata | 19a | Rank_light | RANK_LIGHT | Lighting | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19b | Rank_air | RANK_AIR | Air quality / ventilation | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19c | Rank_temp | RANK_TEMP | Temperature | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19d | Rank_noise | RANK_NOISE | Sound and Noise | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19e | Rank_privacy | RANK_PRIVACY | Privacy | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19f | Rank_size | RANK_SIZE | Workstation Size | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata | 19g | Rank_window | RANK_WINDOW | Window Access | 1 | 2 | 3 | 4 | 5 | 6 | 7
alldata |  | Rank_flag | RANK_FLAG$ |  | 1 1 1 1 1 1 1: F1 used if participant gave same order as order of presentation
Please click on the button (or radio button) that best describes you.
alldata | 20 | Age | AGE | How old are you? | 18-29 | 30-39 | 40-49 | 50-59 | 60-69 | older
|  |  | AGE_COMBINED | How old are you? | 18-29=18 | 30-39=30 | 40-49=40 | 50-59=50 | 60-69=60 | older=60
alldata | 21 | Gender | GENDER$ | What is your sex? | 1 1 1 1 1 1 1: F=Female; 2 2 2 2 2 2 2: M=Male
|  | Gender | GENDER | What is your sex? | 1 1 1 1 1 1 1: F=1; 2 2 2 2 2 2 2: M=2
alldata | 22 | Job_cat | JOB_CAT$ | What is the category that best describes your job? | 1 1 1 1 1 1 1: A=Administrative; 2 2 2 2 2 2 2: T=Technical; 3 3 3 3 3 3 3: P=Professional; 4 4 4 4 4 4 4: M=Managerial
|  | Job_cat | JOB_CAT | What is the category that best describes your job? | 1 1 1 1 1 1 1: A=1; 2 2 2 2 2 2 2: T=2; 3 3 3 3 3 3 3: P=3; 4 4 4 4 4 4 4: M=4
alldata | 23 | Ed_level | ED_LEVEL$ | What is the highest level of education that you have completed? | HS=secondary / high school graduation certificate or less | CC=diploma or certificate from a community college, CEGEP, institute of technology, etc. | UC=some university courses or a university certificate below the Bachelor level | UD=undergraduate (Bachelor's) degree | GD=graduate or professional degree
|  | Ed_level | ED_LEVEL | What is the highest level of education that you have completed? | HS=1 | CC=2 | UC=3 | UD=4 | GD=4
When answering the next few statements, please think about your job in general, and your
experiences working here.
Please click on the button to indicate your degree of agreement or disagreement with the
following statement.
alldata | 24 | Good_pl | GOOD_PL | My department / agency is a good place to work. | very strongly disagree | strongly disagree | disagree | neither agree nor disagree | agree | strongly agree | very strongly agree
alldata | 25 | Sat_job | SAT_JOB | I am satisfied with my job. | very strongly disagree | strongly disagree | disagree | neither agree nor disagree | agree | strongly agree | very strongly agree
alldata | 26 | Prod_env | PROD_ENV | Please click on the button to estimate how you think your personal productivity at work is | -30% | -20% | -10% | 0% | +10% | +20% | +30%
increased or decreased by the environmental conditions as compared to what you
usually achieve.
alldata | 27 | Sat_ind | SAT_IND | Finally, taking into consideration all the environmental conditions in your workstation, what is your | very unsatisfactory=1 | unsatisfactory=2 | somewhat unsatis.=3 | neutral=4 | somewhat satis.=5 | satisfactory=6 | very satisfactory=7
degree of satisfaction with the indoor environment in your workstation, as a whole?
alldata |  | Time_comp | TIME_COMP | Time at questionnaire completion.

## COPE_Physical and Derived vars
Worksheet | Code /Excel Variable Name | Systat Variable Name | Values | Name / Definition / Explanation | Comments
Note that some definitions are repeated within this worksheet, so if you don't see a definition beside a name look lower down or up or on the Questionnaire vars worksheet.
| Prefix or Suffix =N |  |  | Night measurement
| "_" |  |  | "_" = underscore = space in the variable name
alldata | Time |  |  | Date and time of data collection
alldata | WSID | WSID$ |  | Work station ID
alldata | Aco_31.5Hz |  |  | Acoustic data reading taken at 31.5 Hz
alldata | Aco_63 |  |  | Acoustic data reading taken at 63 Hz
alldata | Aco_125 |  |  | Acoustic data reading taken at 125 Hz
alldata | Aco_250 |  |  | Acoustic data reading taken at 250 Hz
alldata | Aco_500 |  |  | Acoustic data reading taken at 500 Hz
alldata | Aco_1K |  |  | Acoustic data reading taken at 1 kHz
alldata | Aco_2K |  |  | Acoustic data reading taken at 2 kHz
alldata | Aco_4K |  |  | Acoustic data reading taken at 4 kHz
alldata | Aco_8K |  |  | Acoustic data reading taken at 8 kHz
alldata | Aco_AP |  |  | Acoustic data reading, all frequencies
alldata | Lnoise(A) | LNOISEA |  | A-weighted ambient noise level from daytime COPE Cart measurements. | Measure of overall noise level = “LN(A), the A-weighted overall sound level. This is the overall level of the noise in decibels after the signal has been passed through an A-weighting filter. This filter has a shape that approximates the frequency response of our hearing system and is derived from a particular equal loudness contour. A-weighted sound levels are an approximate indication of the loudness of sounds and are the most commonly used single number rating of noise levels” (Veitch, Bradley, Legault, Norcross, & Svec, 2002).
alldata | Lspeech(A) | LSPEECHA |  | Calculated received speech level assuming a 'Normal' source level according to ANSI SII-97 standard and with measured attenuations between workstations.
alldata | S/N(A) | SNA |  | Signal-to-noise ratio from above speech and noise levels.
alldata | AI | AI |  | Articulation Index from measured ambient noise level and calculated speech level assuming 'Normal' source level according to ANSI SII-97 standard.
alldata | AI(RC30) | AIRC30 |  | Articulation Index from RC30 noise level and calculated speech level assuming 'Normal' source level according to ANSI SII-97 standard.
alldata | SII | SII |  | Speech Intelligibility Index from measured ambient noise level and calculated speech level assuming 'Normal' source level according to ANSI SII-97 standard. | Measure of speech-to-noise ratio = “SII, the speech intelligibility index is defined in ANSI S3.5 (ASA, 1997) and is intended to be an improvement on the earlier Articulation Index (AI) measure. SII is a weighted-speech-to-noise ratio similar to the AI measure. SII includes revised frequency weightings and also includes the effects of masking of one frequency band on nearby frequency bands” (Veitch, Bradley, Legault, Norcross, & Svec, 2002).
alldata | SII(CasSp) | SIICASSP |  | Speech Intelligibility Index from measured ambient noise level and calculated speech level assuming 'Casual' source level.
alldata | SII(RC30) | SIIRC30 |  | Speech Intelligibility Index from RC30 noise level and calculated speech level assuming 'Normall' source level according to ANSI SII-97 standard.
alldata | NC | NC |  | Noise Criterion rating from COPE cart daytime noise level measurements.
alldata | PNC | PNC |  | Preferred Noise Criterion rating from COPE cart daytime noise level measurements.
alldata | NR | NR |  | Noise Rating from COPE cart daytime noise level measurements.
alldata | LL | LL |  | Loudness Level of daytime noise level measurements from COPE cart measurements where availble and from grouped multi-spectra data in a few other cases.
alldata | RC | RC |  | ASHRAE RC rating from daytime multi-spectrum measurements for groups of workstations. (only avaialble for earleir tests).
alldata | Spec | SPEC$ |  | ASHRAE Spec rating (associated with RC rating) from daytime multi-spectrum measurements for groups of workstations. (only avaialble for earleir tests).
alldata | QAI | QAI |  | ASHRAE QAI rating (associated with RC rating) from daytime multi-spectrum measurements for groups of workstations. (only avaialble for earleir tests).
alldata | RNC | RNC |  | Room Noise Criterion (Schomer) from daytime multi-spectrum measurements for groups of workstations. (only avaialble for earleir tests).
alldata | RNC_no | RNC_NO |  | Room Noise Criterion (Schomer) from daytime multi-spectrum measurements for groups of workstations (without fluctuations component). (only avaialble for earleir tests).
alldata | Aco_flag |  |  | Acoustic flag | 1000000=phone / 100000=speech / 10000=office equipment / 1000=ventilation / 100=noise from outside bldg. / 10=radio,TV, music / 1=other
alldata | FBch4 | FBCH4 |  | Air quality - methane (in ppm) | in parts per million
alldata | FCco | FCCO |  | Air quality - carbon monoxide (in ppm) | in parts per million
alldata | FDco2 | FDCO2 |  | Air quality - carbon dioxide (in ppm) | in parts per million
alldata | FEthc | FETHC |  | Air quality - total hydrocarbons (in ppm) | in parts per million
alldata | FWh2o | FWH2O |  | Air quality - water vapour (in ppm) | in parts per million
alldata | Air_v_L | AIR_V_L |  | Air velocity | low = 0.1m
alldata | Air_V_M | AIR_V_M |  | Air velocity | medium = 0.7m
alldata | Air_V_H | AIR_V_H |  | Air velocity | high = 1.0m
alldata | Rtd_R | RTD_R |  | Air temperature (radiant)
alldata | Rtd_L | RTD_L |  | Air temperature (low)
alldata | Rtd_M | RTD_M |  | Air temperature (medium)
alldata | Rtd_H | RTD_H |  | Air temperature (high)
alldata | Rel_humid | REL_HUMID |  | Relative humidity (%)
alldata | E_F | E_F |  | Illuminance (front) = E(x), illumination vector on x axis | see bitmaps worksheet for more information
alldata | E_Bk | E_BK |  | Illuminance (back) = E(-x) | see bitmaps worksheet for more information
alldata | E_T | E_T |  | Illuminance (top) = E(z) | see bitmaps worksheet for more information
alldata | E_Bot | E_BOT |  | Illuminance (bottom) = E(-z) | see bitmaps worksheet for more information
alldata | E_R | E_R |  | Illuminance (right) = E(-y) | see bitmaps worksheet for more information
alldata | E_L | E_L |  | Illuminance (left) = E(y) | see bitmaps worksheet for more information
alldata | ED1P1 | ED1P1 |  | Desktop illuminance | This variable was renamed from E_D1 to ED1P1 see bitmaps worksheet for exact location.
alldata | ED2P1 | ED2P1 |  | Desktop illuminance | This variable was renamed from E_D2 to ED2P1 see bitmaps worksheet for exact location
alldata | ED1P2 | ED1P2 |  | Desktop illuminance | see bitmaps worksheet for exact location
alldata | ED2P2 | ED2P2 |  | Desktop illuminance | see bitmaps worksheet for exact location
alldata | HeadPh | HEADPH | 0 1 | Headphones worn at time of initial contact (0=no headphones)
alldata | GlareScreen | GLARESCREEN | 0 1 | Glarescreen present on monitor (0=no glarescreen)
alldata | Hpart1 |  |  | Height of partition in inches | 199' means no partition on that wall (NB. This value has now been replaced by "0" in the data spreadsheet, 14th May 2001)
alldata | Hpart2
alldata | Hpart3
alldata | Hpart4
alldata | PF1 | PF1 | 0 1 2 3 | Partition finish (0=fabric / 1=glass / 2=metal or hard surface / 3=combination) | 2 and 3 are 'sometimes ambiguous'
alldata | PF2 | PF2
alldata | PF3 | PF3
alldata | PF4 | PF4
alldata | Cor1 |  | 0 1 | Corridor adjacent to work station (0=no corridor) on side X
alldata | Wall1 |  | 0 1 | Wall adjacent to work station (0=no wall) on side X
alldata | Win1 |  | 0 1 | Window adjacent to work station (0=no window) on side X
alldata | HTA1 |  | 0 1 | High-traffic area adjacent to work station (0=not a high traffic area) on side X
alldata | PCF1 |  | 0 1 | Printer, copier, fax adjacent to work station (0=none present) on side X
alldata | AWS1 |  | 0 1 | Another work station adjacent to work station (0=no adjacent work station) on side x
alldata | Cor2
alldata | Wall2
alldata | Win2
alldata | HTA2
alldata | PCF2
alldata | AWS2
alldata | Cor3
alldata | Wall3
alldata | Win3
alldata | HTA3
alldata | PCF3
alldata | AWS3
alldata | Cor4
alldata | Wall4
alldata | Win4
alldata | HTA4
alldata | PCF4
alldata | AWS4
alldata | FloorF | FLOORF | 0 1 | Floor finish (0=carpet, 1=hard)
alldata | AirSC |  | 0 1 | Air supply - ceiling (1=ceiling)
alldata | ASF |  | 0 1 | Air supply - floor (1=floor)
alldata | ASD |  | 0 1 | Air supply - diffuser (1=diffuser)
alldata | ASJ |  | 0 1 | Air supply - jet (1=jet)
alldata | DiffLoc | DIFFLOC | 0 1 2 3 | Diffuser location (0=centre of work station / 1=off centre / 2=outside / 3=na)
alldata | Lumloc | LUMLOC | 0 1 2 3 | Luminaire location (0=centre of work station / 1=off centre / 2=outside / 3=na)
alldata | Parab |  | 0 1 | Parabolic lighting (1=parabolic)
alldata | Lens |  | 0 1 | Lens lighting (1=lens)
alldata | Ind |  | 0 1 | Indirect lighting (1=indirect)
alldata | Task |  | 0 1 | Task lighting on at time of data collection (1=task light on)
alldata | DayL+15 | DAYLPLUS15 | 0 1 | Window present, within 15 feet (1=within 15')
alldata | DayL-15 | DAYLMINUS15 | 0 1 | Window present, further than 15 feet (1=further than 15')
alldata | CeilH |  |  | Ceiling height in inches
alldata | W | W |  | Work station width in inches (measured east to west)
alldata | L | L |  | Work station length in inches (measured north to south)
alldata | P_1-12 |  | 1 to 12 | Location of partitions | entrance to work station is always 'south'
alldata | CRT_1-8 |  | 1 to 8 | Location of computer monitor
alldata | Shape |  | 0 1 | Shape of work station (0=rectangular / 1=triangular) | only Building 1 had triangular workstations
alldata | Comments
alldata | Time
alldata | WSID
alldata | EXPID
alldata | NAco_31.5Hz
alldata | NAco_63
alldata | NAco_125
alldata | NAco_250
alldata | NAco_500
alldata | NAco_1K
alldata | NAco_2K
alldata | NAco_4K
alldata | NAco_8K
alldata | NAco_AP
alldata | NAco_flag
alldata | FBch4_N | FBCH4_N
alldata | Fcco_N | FCCO_N
alldata | FDco2_N | FDCO2_N
alldata | Fethc_N | FETHC_N
alldata | FWh2o_N | FWH2O_N
alldata | Air_v_L_N | AIR_V_L_N
alldata | Air_V_M_N | AIR_V_M_N
alldata | Air_V_H_N | AIR_V_H_N
alldata | Rtd_R_N | RTD_R_N
alldata | Rtd_L_N | RTD_L_N
alldata | Rtd_M_N | RTD_M_N
alldata | Rtd_H_N | RTD_H_N
alldata | RH_N | RH_N
alldata | E_F_N | E_F_N
alldata | E_Bk_N | E_BK_N
alldata | E_T_N | E_T_N
alldata | E_Bot_N | E_BOT_N
alldata | E_R_N | E_R_N
alldata | E_L_N | E_L_N
alldata | ED1P1_N | ED1P1_N |  | Desktop illuminance | This variable was renamed from E_D1_N to ED1P1_N see bitmaps worksheet for exact location
alldata | ED2P1_N | ED2_N |  | Desktop illuminance | This variable was renamed from E_D2_N to ED2P1_N see bitmaps worksheet for exact location
alldata | ED1P2_N | ED1P2_N |  | Desktop illuminance | see bitmaps worksheet for exact location
alldata | ED2P2_N | ED2P2_N |  | Desktop illuminance | see bitmaps worksheet for exact location
alldata | ED1P3_N | ED1P3_N |  | Desktop illuminance | This variable was renamed from ED3P2_N to ED1P3_N see bitmaps worksheet for exact location
alldata | ED2P3_N | ED2P3_N |  | Desktop illuminance | This variable was renamed from ED4P2_N to ED2P3_N see bitmaps worksheet for exact location
alldata | ED1P4_N | ED1P4_N |  | Desktop illuminance | This variable was renamed from ED5P2_N to ED1P4_N see bitmaps worksheet for exact location
alldata | ED2P4_N | ED2P4_N |  | Desktop illuminance | This variable was renamed from ED6P2_N to ED2P4_N see bitmaps worksheet for exact location
alldata | ED1P5_N | ED1P5_N |  | Desktop illuminance | This variable was renamed from ED7P2_N to ED1P5_N see bitmaps worksheet for exact location
alldata | ED2P5_N | ED2P5_N |  | Desktop illuminance | This varaible was renamed from ED8P2_N to ED2P5_N see bitmaps worksheet for exact location
alldata | ED1P6_N | ED1P6_N |  | Desktop Illuminance | see bitmaps worksheet for exact location
alldata | ED2P6_N | ED2P6_N |  | Desktop Illuminance | see bitmaps worksheet for exact location
alldata | Comments
alldata | building# |  |  | data collection site
alldata | org# |  |  | some organizations had more than one building
alldata | OES | OES |  | Average of PROD_ENV & SAT_IND
alldata | sat_priv | SAT_PRIV |  | Average of APPEAR & PRIV_CONV & PRIV_VISUAL & NOISE_CONV & SIZE & NOISE_BACK & ALTER & DISTANCE & DISTRACT & ENCLOSURE
alldata | sat_air | SAT_AIR |  | Average of AIR_QUAL & TEMP & AIR_MOVE
alldata | sat_light | SAT_LIGHT |  | Average of DESK_LIGHT & COMP_LIGHT & COMP_GLARE & LIGHT_QUAL & VIEW
alldata | jobsatis | JOBSATIS |  | Average of GOOD_PL & SAT_JOB
alldata | VDT_Cat | VDT_CAT | 1 2 3 | 1 = low, 2 = medium, 3 = high, blank = missing value | Subjective assessment of the level of reflected glare in the computer screen, derived from photo taken at each workstation, with monitor turned off

## COPE_Building Descriptions
Building | City | Year Built | When Visited | #_Floors | Floor_plate_(sf) | Lighting | Lighting_Control | HVAC | Ventilation-Diffuser-Shape | Ventilation-Control | Windows | Sound (Sound Masking in Use) | Work_Policies | Other_Policies | Occupations
1 | Ottawa | 1977 | Spring 2000 (April) | 11 (4 visited) | 39000 (x 2 towers) | 4' coffered prismatic fluorescent |  | ducted air VAV cooling / perimeter hot-water heating | linear |  | non-openable | No sound masking
2 | Toronto | 1975 | Summer 2000 (June) | 12 (3 visited) | 40000 | 4' recessed parabolic cube |  | ducted air VAV cooling / perimeter convention heating | linear |  | non-openable | No sound masking
3 | Ottawa | 1975 | Spring 2000 (April) and Winter 2000 (December) | 22 (4 visited) | 18000 | 4' recessed prismatic (some parabolic) |  | ducted air VAV cooling / perimeter hot and chilled water heating & cooling | linear |  | non-openable | Sound masking in use
4 | Ottawa |  | Winter 2002 (March) | ?? (1 visited) |  | 2x4 2-lamp prisamtic | Rotating lenses on task lamps |  | linear |  | non-openable
5 | SF Bay Area |  | Spring 2002 (April-May) | 3 (3 visited) | 40600 | 2x4 3-lamp 18-deepcell parabolic |  |  | square |  | non-openable | Sound masking in use | work-from-home encouraged | dogs permitted
6 | SF Bay Area |  | Spring 2002 (April-May) | 5 (1 visited) | 34500 | 2x4 3-lamp 18-deepcell parabolic | bi-level wall switching |  |  |  | non-openable | No sound masking | work-from-home encouraged | dogs permitted
7 | SF Bay Area |  | Spring 2002 (April-May) | 8 (1 visited) | 40600 | dir-indirect suspended 18" 8' lengths |  |  |  |  | openable |  | work-from-home encouraged
8 | Montreal |  | Spring 2002 (May) | 4 (2 visited) | 6700 | 2x4 paracub + some indirect |  |  | square
9 | Quebec |  | Spring 2002 (May) | 3 (3 visited) | 15300 | 1x4 2-lamp 16-deepcell parabolic |  |  | linear | Workstation-directed linear vents
Note on H1: Jennifer A. Veitch: Control refers to the availability of actions by individuals to change physical conditions in their workstations.
Note on F2: newsham: These are approximate, calculated from plans
Note on E10: newsham: + 4 residential

## COPE_bitmaps
The order of the sampling follows the order of the position, ie. position 1 was recorded first and position 6 was recorded last.
| Position 1 = above illuminance configuration recorded at Day and Night. | Position 2 = above illuminance configuration recorded at Day and Night. | Position 3 = above illuminance configuration recorded at Night only. | Position 4 = above illuminance configuration recorded at Night only. | Position 5 =above illuminance configuration recorded at Night only. | Position 6 = above illuminance configuration recorded at Night only.
North = Partition 1, always opposite the entrance.
East = Partition 2, always to the right of the entrance.
West = Partition 4, always to the left of the entrance.
South = Partition 3, always on same side as entrance.
VDT screen
For hemispherical, cylindrical, semicylindrical illuminance, and illuminance at the eye, I am assuming that the "direction of view" is from the sensor head to the VDT screen, directly along the x-axis.
Notes:
Planar Illuminance = E e.n + ~Ex.nx2 + ~Ey.ny2 + ~Ez.nz2
for Horizontal Illuminance n = (0,0,1) and Eh = E e(z) + ~Ez
Hemispherical Illuminance = E (1+e.n)/4 + (~Ex + ~Ey + ~Ez)/3
for our direction of view n = (1,0,0) and Ehs = E (1+e(x)) + (~Ex + ~Ey + ~Ez)/3
Cylindrical Illuminance = E e.e(x,y)/π + (~Ex + ~Ey)/2
for our direction of view e(x,y) = (1,0) and Ecl = E e(x)/π + (~Ex + ~Ey)/2
Semicylindrical Illuminance = E (e.e(x,y)) (1+e(x,y).n(x,y)) /π + (~Ex + ~Ey)/2
for our direction of view e(x,y) = (1,0), n(x,y) = (1,0) and Escl = E e(x) (1+e(x)) /π + (~Ex + ~Ey)/2
Illuminance at the eye = E e.v + ~Ex.vx2 + ~Ey.vy2 + ~Ez.vz2
for our direction of view v = (1,0,0) and Eeye = E e(x) + ~Ex
Cubic Illuminance Head
x
y
z
VDT screen
normal
Illuminance Meter = D1
Illuminance Meter = D2
Illuminance Meter = D1
Illuminance Meter = D1
Illuminance Meter = D1
Illuminance Meter = D1
Illuminance Meter = D1
Illuminance Meter = D2
Illuminance Meter = D2
Illuminance Meter = D2
Illuminance Meter = D2
Illuminance Meter = D2
POSITION 1
Data for variables ED1P1, ED2P1, ED1P1_N, and ED2P1_N were recorded with this configuration.
POSITION 2
Data for variables ED1P2, ED2P2, ED1P2_N, and ED2P2_N were recorded with this configuration.
POSITION 3
Data for variables ED1P3_N, and ED2P3_N were recorded with this configuration.
POSITION 4
Data for variables ED1P4_N, and ED2P4_N were recorded with this configuration.
POSITION 5
Data for variables ED1P5_N, and ED2P5_N were recorded with this configuration.
POSITION 6
Data for variables ED1P6_N, and ED2P6_N were recorded with this configuration.